AQR2530NNW dummy covers

as design part without measuring function,

to plug onto a UP controller module AQR2570Nx or AQR2576Nx,

color: titanium white,

degree of protection: IP 30,

dimensions: 55 x 55 x 12.5 mm (L x W x H),

Manufacturer: Siemens

Ord. no.: S55720-S137

Note: To complete the device, a suitable design frame and a CO2/temperature/humidity controller AQR2576Nx are required, and must be ordered separately.