AQR2535NNWQ temperature/humidity sensor module with air quality display

with integrated sensor to acquire the temperature and relative humidity,

measuring range temperature: 0…50 °C,

measuring range relative humidity: 0…100 %,

with air quality indication by means of 3-color LED,

to plug into a CO2, temperature, and humidity controller AQR2576Nx,

color: titanium white,

degree of protection: IP 30,

dimensions: 55 x 55 x 12.5 mm (L x W x H),

Manufacturer: Siemens

Ord. no.: S55720-S219

Note: To complete the device as CO2, room temperature, and room humidity controller, a suitable design frame and a CO2, temperature, and humidity controller AQR2576Nx are required, and must be ordered separately.